Quantitative Medical Imaging

Maritoni Litorja1, Steven Brown1, Maria Nadal1, Gerald T. Fraser1

and Alexander Gorbach2

1National Institute of Standards and Technology, Gaithersburg, MD 20899

2National Institutes of Health, Bethesda, MD

# Abstract

Quantitative medical imaging, in particular in situ imaging during surgery, can provide critical, relevant information to the surgical team, e.g. evaluation of oxygenation of tissue, distinction between diseased and healthy tissue, etc.  In addition, it is often difficult to distinguish between anatomical features with similar optical properties, especially their bi-directional reflectance distribution functions, using conventional lighting.  NIST and NIH have begun a collaborative program to quantitatively measure the reflectance and BRDF of surgically relevant areas of interest. Quantitative reflectance data combined with vision models will be used to develop model surgical lighting spectral distributions to enhance a particular anatomical feature with respect to the surrounding tissue.  Spectrally tunable sources under development at NIST will then realize the modeled spectral distributions.  In this talk, details of the program goals and approaches will be outlined and the approach to the characterization, calibration and validation of the camera system we will be using to make the quantitative medical images will be described.

Contact author:

Maritoni Litorja

NIST, 100 Bureau Drive, Mail Stop 8443, Gaithersburg, MD 20899

PH:  301.975.8095; FAX: 301.975.6991

Email:  litorja@nist.gov

Bio:

Maritoni Litorja

Research Chemist

Optical Technology Division

NIST

2001-present	Research chemist , Optical Thermometry and Spectral Methods Group

  - NIST Postdoctoral Fellow, NIST Surface and Microanalysis Science Division

1996-1999	Potstdoctoral Researcher, Chemical Dynamics Group, Argonne National Lab

1996		PhD in Physical Chemistry  Northwestern University

Thesis: Surface-Enhanced Raman Spectroscopy and Temperature Programmed

Desorption of Benzene, Pyridine and C60